Fire Fighting Equipment Service Certificate

| Invoice Address | Service Address |
| --- | --- |
| Almac Group Limited Almac House 20 Seagoe Industrial Estate Craigavon BT63 5QD United Kingdom | Building 19 Clinical Services |

| Job Summary No. | Date | Engineer |
| --- | --- | --- |
| 01057 | 21/02/2018 | CB |

| Quantity | Extinguisher Type | Quantity | Extinguisher Type |
| --- | --- | --- | --- |
| 15 | 6L Foam |  |  |
| 13 | 2KG Co2 |  |  |
| 1 | 5KG Co2 |  |  |
| 1 | 9KG ABC |  |  |
| 3 | Fire Blankets |  |  |

| Service Report | Service Report |
| --- | --- |
| X1 New 6 litre foam installed. X4 2kg Co2 PTR’s |  |

The Fire Fighting Equipment is serviced in accordance with BS 5306 part 3

| FireHow Limited 12 Ashley gardens Banbridge Co Down N Ireland BT32 4BN | T: +44 02840690545 M.+44 07846633129 VAT No. 280425024 Reg No. NI648838 FireHow.co.uk Colin.bickerstaff@firehow.co.uk |
| --- | --- |