CERTIFICATE OF MAINTENANCE
FIRE EQUIPMENT

PREMISES:	Almac Diagnostics MM B2	

ENGINEER:  	Colin Bickerstaff 	
CERTIFICATE NUMBER:  	1001	

Quantity	Model	Details	
24	Foam AFFF		
29	Co2	X2 Overhaul 	
6 	ABC Dry Powder 	X4 Extended Service 	
14	Fire Blankets 		

			

All non-compliant equipment replaced at time of service. 

	

Date of Issue: 24.04.2018 	
Next Service Due: 04.2019 	

This certificate confirms that the maintenance service of your fire equipment listed above has been carried out in accordance with national standards BS5306: Part 3 and Part 8: 2017 (Extinguishers), BS5839 (Fire Alarms), BS5306: Part 1 1976 (Hose Reels) BS9990 (Dry/Wet Risers & Hydrants) BS5266 (Emergency Lighting).