Fire Fighting Equipment Service Certificate

| Invoice Address | Service Address |
| --- | --- |
| Almac Group Limited Almac House 20 Seagoe Industrial Estate Craigavon BT63 5QD United Kingdom | Pharma Services Building 6 |

| Job Summary No. | Date | Engineer |
| --- | --- | --- |
| 01011 | 25/01/2018 | C.Bickerstaff |

| Quantity | Extinguisher Type | Quantity | Extinguisher Type |
| --- | --- | --- | --- |
| 1 | 9 litre water | 4 | 9kg powder |
| 15 | 6 litre foam |  |  |
| 1 | 9 litre foam |  |  |
| 15 | 2kg co2 |  |  |
| 3 | 5kg co2 |  |  |
| 2 | 6kg powder |  |  |

| Service Report | Service Report |
| --- | --- |
| 2no, foam + 20 years old, replaced with new. 2no, 6kg powder service exchange 2no, 9kg powder service exchange |  |

The Fire Fighting Equipment is serviced in accordance with BS 5306 part 3

| FireHow Limited 12 Ashley gardens Banbridge Co Down N Ireland BT32 4BN | T: +44 02840690545 M.+44 07846633129 VAT No. 280425024 Reg No. NI648838 FireHow.co.uk Colin.bickerstaff@firehow.co.uk |
| --- | --- |